Product Introduction:

Thermal Shock Test Chamber is used to test the bearing extent of the material structures and composite material in an instant and continuous high temperature and extremely low temperature environment, which is in the shortest time to test its thermal expansion and contraction caused by chemical change or physical harm.

The equipment is widely used in metal, plastic, rubber, electronics and other materials and it can be used as an important reference for improving product quality. It meets the standard of MTL, IEC, JIS, GJB…

Main parameters:

|  |  |
| --- | --- |
| Test method | Pneumatic operated door switch 3 chambers |
| Inner dimension (W\*D\*H) | 500\*450\*450mm |
| External dimension (W\*D\*H) | 1380\*1370\*1980mm |
| Temperature range | -40 ~ +80℃ |
| High temperature chamber pre-heating range | 60 ~ 100℃ |
| Heating speed | +60→+100℃ about 10 minutes |
| Low temperature chamber pre-cooling range | -65 ~ 0 |
| Cooling speed | Ambient →-65℃ about 65 minutes |
| Temperature deviation | ±3℃ |
| Thermal recovery time | Within 5 minutes |
| External material | Antirust processing cold-rolled steel sheet |
| Internal material | SUS#304 stainless steel |
| Thermal insulation material | Polyurethane foam and fiberglass |
| Coolant | R404A / R23 |
| Cooling method | Air cooling |
| Pressure | 0.2 - 0.5Mpa |
| Power supply | Three phase, 380V, 50Hz |

Features:

* A **flexible cabling tube** (for monitoring or powering samples) that comes out the side, rather than a moving pipe that sticks out the top.
* An **option for a window** makes checking on the samples easier.
* Test samples don't move
* Perfect appearance and easy to operate.
* Japan LCD English microcomputer temperature controller, with high memory capacity, can save 100 programs, max 9999 cycles, each cycle max time 999hrs.
* Three chamber structures, high temperature chamber, low temperature chamber and test chamber, control automatically, stay and switch time adjustable.
* Perfect protection alarm functions: short-circuits, Leakage, over temperature of work chamber; compressor over pressure, over load, short water…
* Control interface will display alarm reason and provide check methods, machine has emergency stop button.
* Cold and hot shock temperature recover within 5 minutes, which complies with MTL, IEC, JIS, GJB and other international standards.
* With RS-232C communication port for connecting PC to control, record and save test report.
* **High temperature chamber:**
* Heater: NI-CR alloy electric heater
* Draught fan: Share centrifugal fan when high temperature and do environmental temperature, preheating with axial flow fan.
* **Low temperature chamber:**
* Cooler: Fin cooler, regenerator
* Draught fan: centrifugal fan
* **Drive device:**
* Pneumatic cylinder: Drive the air door of high, environmental, low temperature
* Air compressor: Provide the compressed air for driving pneumatic door (supplied by buyer)
* **Refrigerating device:**
* Cooling method: mechanical compression refrigeration
* Refrigeration compressor: Semi-closed piston
* Refrigerant: R23/R404A
* Condensation: Stainless steel welded plate heat exchanger
* **Controller:**
* Operate interface: 6" color LCD touch screen
* Program memory capacity: 100 groups (modify by operator)
* Setting range: Time: 1 minute ~ 99 hour 59 minute, cycles: 1~ 999 cycles
* Resolution: temperature: 0.01 ℃; time: 1 minute
* Input: T thermocouple
* Control method: P.I.D control
* **Additional functions:**
* Timer, over temperature and power failure protection, alarm, record test curve, emergency stop, display test time
* Circulated cooling water: pressure: 0.2～0.4MPa, temperature: ≤30℃
* Standard configuration: indication lamp of test chamber, time meter, test hole for wire routing, 6pcs castor, 4pcs adjust wheel.
* **Safety devices**:
* Leakage and breaker, over temperature, low temperature protect device, exhaust valves, sample power control terminal, over temperature protection of high and low chamber, compressor over pressure, over heat protection, out of water relay, heat relay of fan, compressed air pressure switch, fuse, external alarm terminal