Product Introduction:

Used to test the mobile phone, tablet PC, camera, LCD TV and other high-end electronic products shell seal, simulation in heavy rain, heavy rain and other circumstances, the equipment and components of the performance is good.

Main technical parameters:

|  |  |  |  |
| --- | --- | --- | --- |
| **Model** | DTK-WS-IPX5 | | |
| DTK-WS-IPX6 | | |
| Internal dimension (W\*D\*H) | 600\*600\*2700mm | 800\*800\*2700mm | |
| External dimension (W\*D\*H) | 1100\*800\*3600mm | 1300\*1000\*3600mm | |
| Internal chamber material | Stainless steel 304 | | |
| External chamber material | Stainless steel | | |
| Observation window | Waterproof Toughened glass | | |
| IP Code | IPX5 | | IPX6 |
| Internal diameter of nozzle | 6.3mm | | 12.5mm |
| Water shower rate | 12.5l/min±5% | | 100l/min±5% |
| Test duration | 0~999h59min | | |
| Controller | PLC touch screen | | |
| Distance from nozzle to enclosure surface | 2.5m ~ 3m | | |
| Water cycling system | Built-in chamber bottom for recycling | | |
| Turntable diameter | 200mm | 300mm | |
| Power source | Three phase, AC380V, 50/60HZ | | |