Product Introduction:

Used to test the mobile phone, tablet PC, camera, LCD TV and other high-end electronic products shell seal, simulation in heavy rain, heavy rain and other circumstances, the equipment and components of the performance is good.

Main technical parameters:

|  |  |
| --- | --- |
| **Model** | DTK-WS-IPX5  |
| DTK-WS-IPX6 |
| Internal dimension (W\*D\*H) | 600\*600\*2700mm | 800\*800\*2700mm |
| External dimension (W\*D\*H) | 1100\*800\*3600mm | 1300\*1000\*3600mm |
| Internal chamber material | Stainless steel 304  |
| External chamber material | Stainless steel |
| Observation window | Waterproof Toughened glass |
| IP Code | IPX5 | IPX6 |
| Internal diameter of nozzle | 6.3mm | 12.5mm |
| Water shower rate | 12.5l/min±5% | 100l/min±5% |
| Test duration | 0~999h59min |
| Controller | PLC touch screen |
| Distance from nozzle to enclosure surface | 2.5m ~ 3m |
| Water cycling system | Built-in chamber bottom for recycling |
| Turntable diameter | 200mm | 300mm |
| Power source | Three phase, AC380V, 50/60HZ |