DK-DS Series Communication Protocol

V1.0.1​​​

Table of contents

1 Protocol Overview 	6

1.1 Basic Architecture of the Protocol 	6

1.2 Other protocols 	6

2 Device Scanning Protocol 	8

2.1 Device Scan 	8

2.1.1 Scanning Broadcast 	8

2.1.2 Reply Broadcast 	8

2.2 Modify network address information 	9

2.2.1 Modify IP address request 	10

2.2.2 Modify Mask Request 	11

2.2.3 Modify Gateway Request 	12

2.2.4 Modify multiple parameter requests 	13

3 Data Exchange Protocol 	15

3.1 Data Types 	15

3.2 Variable/Method Number 	15

3.3 Command Format 	16

3.3.1 Write Command 	16

3.3.2 Read Command 	18

3.3.3 Different types of data formats 	20

3.4 Error Code and Error Return Format 	26

3.4.1 Error code 	26

3.4.2 Error return format 	27

3.5 Variable 	28

3.5.1 DeviceIdent(0x0000) 	29

3.5.2 SerialNumber(0x0003) 	30

3.5.3 FirmwareVersion(0x0004) 	31

3.5.4 Distance (0x000a) 	32

3.5.5 Acceleration (0x000c) 	33

3.5.6 Temperature (0x001e) 	34

3.5.7 dbLevelComm(0x002d) 	35

3.5.8 publicSoftwareVersion(0x004a) 	36

3.5.9 readyStatus(0x0051) 	37

3.5.10 warningStatus(0x0052) 	38

3.5.11 errorStatus(0x0053) 	39

3.5.12 laserOnStatus(0x0055) 	40

3.5.13 mf1ActiveStatus(0x0056) 	41

3.5.14 mf2ActiveStatus(0x0057) 	42

3.5.15 averagedVelocity(0x00a2) 	43

3.5.16 laserServiceStateSSI(0x00a4) 	44

3.5.17 temperatureServiceStateSSI(0x00a5) 	45

3.5.18 levelServiceStateSSI(0x00a6) 	46

3.5.19 publicSoftwareVersionFpga(0x00a8) 	47

3.5.20 plausibilityServiceStateSSI(0x00a9) 	48

3.5.21 displayedConfigEthernetIP(0x00ad) 	49

3.5.22 displayedConfigEthernetNM(0x00ae) 	50

3.5.23 displayedConfigEthernetGW(0x00af) 	50

3.5.24 laserError(0x00ca) 	51

3.5.25 temperatureError(0x00cb) 	52

3.5.26 levelError(0x00cc) 	53

3.5.27 plausiblityError(0x00cd) 	54

3.5.28 laserPrefailWarning(0x00ce) 	55

3.5.29 temperaturePrefailWarning(0x00cf) 	56

3.5.30 levelPrefailWarning(0x00d0) 	57

3.5.31 plausiblityPrefailWarning(0x00d1) 	58

3.5.32 productPartNo(0x00de) 	59

3.5.33 laserServiceState(0x00e6) 	60

3.5.34 temperatureServiceState(0x00e7) 	61

3.5.35 levelServiceState(0x00e8) 	62

3.5.36 readyServiceState(0x00e9) 	63

3.5.37 plausiblityServiceState(0x00eb) 	65

3.5.38 mf1ServiceState(0x00ec) 	66

3.5.39 mf2ServiceState(0x00ed) 	67

3.5.40 operatingHours(0x00ef) 	68

3.5.41 distanceOffset(0x014a) 	69

3.5.42 distancePreset(0x014b) 	70

3.5.43 globalFunctionMF(0x014d) 	71

3.5.44 functionMF1 (0x014e) 	73

3.5.45 mf1ActiveState (0x014f) 	74

3.5.46 functionMF2 (0x0150) 	75

3.5.47 mf2ActiveState (0x0151) 	77

3.5.48 thresholdDistanceMF1 (0x0152) 	78

3.5.49 hysteresisDistanceMF1 (0x0153) 	79

3.5.50 thresholdVelocityMF1 (0x0154) 	80

3.5.51 velocityModeMF1 (0x0155) 	82

3.5.52 mf1LaserServiceSetup (0x0156) 	83

3.5.53 mf1LevelServiceSetup (0x0157) 	84

3.5.54 mf1TempServiceSetup (0x0158) 	85

3.5.55 mf1PlausibServiceSetup (0x0159) 	86

3.5.56 mf1ReadyServiceSetup (0x015a) 	88

3.5.57 mf1switchCounter(0x015c) 	89

3.5.58 thresholdDistanceMF2(0x015d) 	90

3.5.59 hysteresisDistanceMF2(0x015e) 	91

3.5.60 thresholdVelocityMF2 (0x015f) 	93

3.5.61 velocityModeMF2 (0x0160) 	94

3.5.62 mf2LaserServiceSetup(0x0161) 	96

3.5.63 mf2LevelServiceSetup(0x0162) 	97

3.5.64 mf2TempServiceSetup(0x0163) 	98

3.5.65 mf2PlausibServiceSetup(0x0164) 	100

3.5.66 mf2ReadyServiceSetup(0x0165) 	101

3.5.67 mf2switchCounter(0x0167) 	102

3.5.68 averageFilterDistance(0x0168) 	103

3.5.69 errorRejection(0x016a) 	105

3.5.70 ssiProtocol (0x016b) 	107

3.5.71 ssiResolution (0x016c) 	108

3.5.72 ssiLaserServiceSetup (0x016d) 	110

3.5.73 ssiTemperatureServiceSetup (0x016e) 	111

3.5.74 ssiLevelServiceSetup (0x016f) 	112

3.5.75 ssiReadyServiceSetup (0x0170) 	113

3.5.76 ssiPlausibilityServiceSetup (0x0171) 	115

3.5.77 ssiM f 1ServiceSetup (0x0173) 	116

3.5.78 ssiM f 2ServiceSetup (0x0174) 	117

3.5.79 averageFilterVelocity(0x01a0) 	118

3.6 Methods 	120

3.6.1 ResetMf1Activations(0x00da) 	120

3.6.2 ResetMf2Activations(0x00db) 	121

3.6.3 ResetParamters(0x00ce) 	123

3.6.4 Reboot (0x00c8) 	124

3.6.5 LaserOn(0x00e0) 	125

3.6.6 LaserOff(0x00e1) 	126

4 SSI Protocol 	128

4.1 Basic 	128

4.2 Data Format 	129

4.2.1 Resolution 	129

4.2.2 Error bit 	129

4.2.3 Data Representation 	130

Revision History

| date | content | Version |
| --- | --- | --- |
| June 1 , 2024​​​ | Document first release | 1.0.0 |
| August 26 , 2024​ | Detailed description of data format and length | 1.0.1​ |

Protocol Overview

Basic architecture of the protocol

This protocol describes the communication protocol between the host computer and DK-DS series, including the "device scanning protocol" based on UDP and the "data exchange protocol" based on TCP.

- Device scanning protocol: based on UDP broadcast

This protocol is used to scan DK-DS series devices. The host computer sends a device scan broadcast to a specific port, and the slave computer responds to the scan command to achieve device discovery.

The port occupied by the device scanning protocol is 30718. The host computer and the device use this fixed port for device scanning and replying. The port cannot be changed .

- Data exchange protocol: based on TCP

The data communication between the host computer and the slave computer is based on the TCP protocol. The default listening port of the device is 2112, which cannot be changed by the user .

Within the framework of the agreement, there are two concepts:

- Variable

Variables store information such as the device's status, parameters, and measurement data. Variables have two attributes: read and write. For readable and writable variables, the host computer can read and write; for read-only variables, the host computer can only read.

- Method

The method is called by the host computer and executed by the lower computer. The host computer sends the called method and parameters to the lower computer, and the lower computer replies with the method call result and return value.

Other protocols

The DK-DS series device also supports the following protocols:

- ICMP protocol. This protocol corresponds to the Ping command.

The lower computer can respond to the Ping command.

- ARP protocol.

- The lower computer can reply to the ARP request.

- When the lower computer is just started, it sends an ARP request to the outside so that the upper computer can update its routing table in time.

- If the device has no TCP connection, no Ping, and no device scan command, it will interact with the outside world once every 10 seconds.

- The type of ARP is Gratuitous ARP.

Device Scanning Protocol

The main characteristics of the device scanning protocol are:

- The host computer uses the LAN broadcast address 255.255.255.255 to scan the devices in the network, and the port used is 30718.

- After receiving the broadcast content from the upper computer, the lower computer also replies at the broadcast address 255.255.255.255, and the port it uses is also 30718.

Device Scan

Scan Broadcast

Scan broadcast is used by the host computer or other devices to scan and discover DK-DS series. The format is as follows:

Head: 10 Bytes, fixed content is 0x10 0x00 0x00 0x08 0xff 0xff 0xff 0xff 0xff 0xff

Serial: 4 Bytes, a 4-byte random number. This random number will be used in the broadcast reply and returned to the host computer that issued the scan broadcast for identification. The random number is generated by the host computer.

Command: 2 Bytes, fixed bytes, content is 0x01 0x02

Host IP: 4 Bytes, host IP address, such as 0xc0 0xa8 0x64 0x64 (192.168.100.100)

Host Mask: 4 Bytes, host subnet mask, 0xff 0xff 0xff 0x00 (255.255.255.0)

Reply Broadcast

Reply broadcast is used to feed back the basic device information of DS series to the host computer or scanning device. The format is as follows:

Head: 4 Bytes, fixed value is 0x90 0x00 0x02 0x67

Device MAC: 6 Bytes, such as 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: 4 Bytes, same as the value of "Scan Broadcast"

Reserved: 2 Bytes, currently fixed at 0x00 0x00

XML Content: Delivers basic device information in the form of an XML document. Its content is:

<?xml version="1.0" ?>

<NetScanResult MACAddr="00:06:77:28:D1:82">

<Item key="IPAddress" value="192.168.100.236" readonly="FALSE" />

<Item key="IPMask" value="255.255.255.0" readonly="FALSE" />

<Item key="IPGateway" value="0.0.0.0" readonly="FALSE" />

<Item key="DeviceType" value=" DS series " readonly="TRUE" />

<Item key="FirmwareVersion" value="V001.002.081" readonly="TRUE" />

<Item key="SerialNumber" value="18040010" readonly="TRUE" />

<Item key="LocationName" value="" readonly="TRUE" />

<Item key="IPConfigDuration" value="10000" readonly="TRUE" />

<Item key="HasDHCPClient" value="FALSE" readonly="TRUE" />

</NetScanResult>

The DK-DS series device's response contains the following elements:

MACAddr : MAC address of the device

IPAddress : IP address of the device

IPMask : The subnet mask of the device

IPGateway : Gateway of the device

DeviceType : Device type

FirmwareVersion : The firmware version of the device

SerialNumber : SN of the device , serial number

LocationName : The location information of the device, usually empty.

IPConfigDuration HasDHCPClient : Whether the device supports DHCP .

These elements make it easy for the host computer to establish a TCP connection with the device to obtain data.

Modify network address information

Modifying network address information includes:

- Modify IP address

- Modify Mask

- Modify Gateway

Its basic structure is:

Modification Request:

Modified reply:

Head: The Head value is different for different commands.

- Modifying IP, Mask, and Gateway Head are different

- Modify the reply header to be the same

Serial: The serial number of the modification request is generated by the host computer, and the serial number of the modification reply is the same as that of the host computer.

Command: Indicates whether it is a modification request or a modification reply. The modification request command is 0x01 0x02, and the modification reply command is 0x00 0x00

Request XML: Modify the request XML document

Response XML: Modify the response XML document

- Modify IP, modify Mask, modify Gateway Request XML format is the same

- The Response XML format of replying to modify IP, replying to modify Mask, and replying to modify Gateway is the same

Modify IP address request

Modification Request:

Head: 0x11 0x00 0x01 0x04

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82 (this value is different for different devices)

Serial: Randomly generated (4 bytes)

Command: 0x01 0x02

Request XML:

<?xml version="1.0" encoding="UTF-8"?>

<IPconfig MACAddr="00:06:77:28:d1:82">

<Item key="IPMask" value="255.255.255.0"/>

<Item key="DHCPClientEnabled" value="FALSE"/>

<Item key="IPGateway" value="0.0.0.0"/>

<Item key="IPAddress" value=" 192.168.100.236 "/>

</IPconfig>

Modified reply:

Head: 0x91 0x00 0xa3 0x00

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: Same as the Serial number of the modification request

Command: 0x00 0x00

Response XML:

<?xml version="1.0" ?>

<IPConfigResult MACAddr="00:06:77:28:D1:82">

<Item key="Success" value=" TRUE " />

<Item key="IPConfigDuration" value="10000" />

</IPConfigResult>

If the modification fails, the value of the "Success" field is "FALSE".

Modify Mask Request

Modification Request:

Head: 0x11 0x00 0x01 0x02

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: Randomly generated (4 bytes)

Command: 0x01 0x02

Request XML:

<?xml version="1.0" encoding="UTF-8"?>

<IPconfig MACAddr="00:06:77:28:d1:82">

<Item key="IPMask" value=" 255.255.0.0 "/>

<Item key="DHCPClientEnabled" value="FALSE"/>

<Item key="IPGateway" value="0.0.0.0"/>

<Item key="IPAddress" value="192.168.100.236"/>

</IPconfig>

Modified reply:

Head: 0x91 0x00 0xa3 0x00

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: Same as the Serial number of the modification request

Command: 0x00 0x00

Response XML:

<?xml version="1.0" ?>

<IPConfigResult MACAddr="00:06:77:28:D1:82">

<Item key="Success" value=" TRUE " />

<Item key="IPConfigDuration" value="10000" />

</IPConfigResult>

If the modification fails, the value of the "Success" field is "FALSE".

Modify Gateway Request

Modification Request:

Head: 0x11 0x00 0x01 0x0a

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: Randomly generated (4 bytes)

Command: 0x01 0x02

Request XML:

<?xml version="1.0" encoding="UTF-8"?>

<IPconfig MACAddr="00:06:77:28:d1:82">

<Item key="IPMask" value="255.255.255.0"/>

<Item key="DHCPClientEnabled" value="FALSE"/>

<Item key="IPGateway" value=" 192.168.100.1 "/>

<Item key="IPAddress" value="192.168.100.236"/>

</IPconfig>

Modified reply:

Head: 0x91 0x00 0xa3 0x00

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: Same as the Serial number of the modification request

Command: 0x00 0x00

Response XML:

<?xml version="1.0" ?>

<IPConfigResult MACAddr="00:06:77:28:D1:82">

<Item key="Success" value=" TRUE " />

<Item key="IPConfigDuration" value="10000" />

</IPConfigResult>

If the modification fails, the value of the "Success" field is "FALSE".

Modify multiple parameter requests

If the host computer wants to modify 2 or 3 parameters of IP, Mask, Gateway at the same time,

Modification Request:

Head: 0x11 0x00 0x01 0x08

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: Randomly generated (4 bytes)

Command: 0x01 0x02

Request XML:

<?xml version="1.0" encoding="UTF-8"?>

<IPconfig MACAddr="00:06:77:28:d1:82">

<Item key="IPMask" value="255.255.255.0"/>

<Item key="DHCPClientEnabled" value="FALSE"/>

<Item key="IPGateway" value=" 192.168.100.1 "/>

<Item key="IPAddress" value=" 192.168.100.236 "/>

</IPconfig>

Modified reply:

Head: 0x91 0x00 0xa3 0x00

MAC: 0x00 0x06 0x77 0x28 0xd1 0x82

Serial: Same as the Serial number of the modification request

Command: 0x00 0x00

Response XML:

<?xml version="1.0" ?>

<IPConfigResult MACAddr="00:06:77:28:D1:82">

<Item key="Success" value=" TRUE " />

<Item key="IPConfigDuration" value="10000" />

</IPConfigResult>

If the modification fails, the value of the "Success" field is "FALSE".

Data exchange protocol

In the protocol, all data is represented in binary.

Data Types

All data in the protocol belongs to a certain type, as shown in the following table:

| Name | Description | Range Of Values |
| --- | --- | --- |
| Bool | boolean(8 bits) | True(1), False(0) |
| UInt8 | unsigned short(8 bits) | (0...255) |
| UInt16 | unsigned int(16 bits) | (0...65535) |
| UInt32 | unsigned double int(32 bits) |  |
| UInt64 | unsigned long int(64 bits) |  |
| Int8 | signed short(8 bit) | (-128..127) |
| Int16 | signed int(16 bits) |  |
| Int32 | signed double int(32 bits) |  |
| Int64 | signed long int(64 bits) |  |
| Real | IEEE-754 single-precision floating point number (32 bit) (float) |  |
| Double | IEEE-754 double-precision floating point number (64 bit) (double) |  |
| Enum8 | short enumeration (8 bits) |  |
| Enum16 | short enumeration (16 bits) |  |
| FixString | bits per character ) |  |
| FlexString | Variable length string. There is length information before the character, and the length type is UInt (8 bits per character ) |  |

Variable/Method Number

In the data exchange protocol, all data is transmitted in the form of "command" reading, writing and response .

The concepts involved in data exchange are:

- variable

The various parameters of the device exist in the form of variables, and each variable has a number (Index). When the upper read command specifies the number of a variable to be read, the lower computer replies with the value of the variable corresponding to the number.

If the upper computer specifies the number of a variable to be written in the write command, the lower computer will modify the corresponding variable.

- method

Each method has a corresponding number (Index). The host computer calls a method with the number (Index) corresponding to the method, and the lower computer returns the method return value corresponding to the number after executing the method.

- serial number

Variables and methods are identified by numbers (Index). The Index data type is UInt16, which occupies 2 bytes and 16 bits. For example, the Index of the variable "Firmware Version Number" = 0x0004.

The command types are listed in the following table:

| Client (host computer) | Server (device) | Order |
| --- | --- | --- |
| sRI{SVIdx} | sRA{SVIdx}{variable value} | Read the variable marked by SVIdx |
| sWI{SVIdx} | sVIdx | Write to the variable marked with SVIdx |
| sMI{MIdx}{parameters} | sMA{Mldx}{return values} | Calling MIDx marked method |
|  | sFA{error code} | The device returns an error code |

R stands for Read

W stands for Write

M stands for Method

V stands for Variable

Idx means Index

sRI: Read the variable marked with SVIdx, the binary value is: 0x73 0x52 0x49.

sRA: Reply the variable value marked with SVIdx, the binary value is: 0x73 0x52 0x41.

sWI: Write to the variable marked with SVIdx, the binary value is: 0x73 0x57 0x49.

sWA: Reply the variable write result marked with SVIdx, the binary number is: 0x73 0x57 0x41.

sMI: Call the method marked with MIdx, the binary code is: 0x73 0x4D 0x49.

sMA: Reply to the method call result marked with SVIdx, the binary number is: 0x73 0x4D 0x41.

sFA: Returns an error code, the binary code is: 0x73 0x48 0x41.

Format

There are three main types of commands: read commands, write commands, and methods.

Write Command

Write Request

A "write request" consists of the following fields:

- Preamble

4 bytes, fixed at 0x02 0x02 0x02 0x02.

- Data length

4 bytes, which refers to the length of the data content including "command type", "number", and "value", excluding the checksum.

- Command Type

3 bytes, here is "write command sWI" 0x73 0x57 0x49

- serial number

2 bytes, indicating which variable the host computer needs to write to, and "number" refers to the number of the variable.

- value

The length is not fixed, and varies according to the variable type.

- Check code

1 byte, the XOR value of all bytes starting from "Command Type" (excluding "Preamble" and "Data Length" fields).

Write a reply

"Write Reply" consists of the following fields

- Preamble

4 bytes, fixed as 0x02 0x02 0x02 0x02.

- Data length

4 bytes, which refers to the length of the data content including "command type" and "number", excluding the check code.

- Command Type

3 bytes, here is "write reply sWA" 0x73 0x57 0x41

- serial number

2 bytes, the value of which variable the lower computer responds to when it is written successfully.

- Check code

1 byte, the XOR value of all bytes starting from "Command Type" (excluding "Preamble" and "Data Length" fields).

Read Command

Read Request

A read request consists of the following fields:

- Preamble

4 bytes, fixed as 0x02 0x02 0x02 0x02

- Data length

4 bytes, including the length of the data content including "command type" and "number", excluding the checksum

- Command Type

3 bytes, here is "read command sRI" 0x73 0x52 0x49

- serial number

2 bytes, indicating which variable the host computer needs to read, and "number" refers to the number of the variable.

- Check code

1 byte, the XOR value of all bytes starting from "Command Type" (excluding "Preamble" and "Data Length" fields), in this example, including sRI, Idx

For example:

- Preamble code, fixed to 0x02 02 02 02

- Data length: "sRI" length is 3, idx length is 2, total length is 5

- Command type: "sRI" indicates a read command

- Number: Read variable number 4, which here means requesting the "firmware version".

- Check code: XOR value of all bytes including "sRI", "Idx" = 0x6c

Read Reply

- Preamble

4 bytes, fixed value 0x02 02 02 02

- Data length

4 bytes, including "command type", "number", and "reply content"

- Command Type

3 bytes, here is "read return sRA" 0x73 0x52 0x41

- serial number

2 bytes, indicating which variable is being replied to, each variable corresponds to an index

- Reply content

The length is determined by the "Number" field

- Check code

1 byte, the XOR value of all bytes starting from "Command Type" (excluding the "Preamble" and "Data Length" fields), these fields include: "Command Type", "Number", "Reply Content".

- Preamble code, fixed to 0x02 02 02 02

- Data length, including the length of "command type", "number", and "reply content"

- Command type, "sRA", indicates reply to read variable request

- Number, Idx=4, means reply "firmware version"

- The reply content is the firmware version, which is represented by ASCII code, i.e. "D5.13.008.2722".

- Checksum, the XOR value of all bytes starting from "Command Type" (excluding "Preamble" and "Data Length" fields).

Different types of data formats

Bool

Reading variables

Read Command

Read Return

Writing to variables

Write Command

Write Return

UInt8

Reading variables

Read Command

Read Return

Writing to variables

Write Command

Write Return

UInt16

There is currently no UInt16 data reading or writing.

UInt32

Reading variables

Read Command

Read Return

Writing to variables

Write Command

Write Return

Int8

Reading variables

Read Command

Read Return

No "write variable" usage

Int16

Reading variables

Read Command

Read Return

No "write variable" usage

Int32

Reading variables

Read Command

Read Return

Writing to variables

Write Command

Write Return

Float32

Reading variables

Read Command

Read Return

No "write variable" usage

FixString

Reading variables

Read Command

Read Return

FlexString

Reading variables

Read Command

Read Return

Writing to variables

Write Command

Write Return

Error code and error return format

When the host computer operates DK-DS series, there may be errors in the command format or parameters. When an error occurs, the device will return an error code to the host computer. Error messages are returned by triggering, and no error is returned.

Error Code

The meanings of the error codes are shown in the following table.

| Error Code | meaning |
| --- | --- |
| 0x00 | NoError |
| 0x01 | Method: Access restrictedMethodInvokeDenied |
| 0x02 | Method: The method number does not exist UnknownMethod |
| 0x03 | Variable: variable number UnknownIndex does not exist |
| 0x04 | ParameterUnavailable |
| 0x05 | Invalid Data |
| 0x0a | Variable: Read-only, not writableWriteAccessDenied |
| >0 | Other Errors |

illustrate:

- Error code 0x00: indicates no error. However, the device will not send an sFA message with an error code of 0x00 to the host computer. Here, only an error code value is defined.

- Error code 0x01: indicates that the user does not have permission to access this method.

- Error code 0x02: Indicates that the method indicated by the index field in the method call command does not exist.

- Error code 0x03: Indicates that the variable indicated by the index field in the read or write command does not exist.

- Error code 0x04: Indicates that the value written to a variable exceeds its defined range.

- Error code 0x05: The triggered event is not found and is not used yet .

- Error code 0x0a: When a variable is read-only, if the host computer tries to write the variable.

- CheckSum error: When a command sent by the host computer has a CheckSum error, the device discards the command without replying.

- Data length error: When the command data length sent by the host computer is incorrect, the device will discard the command without replying.

Error return format

This section describes how the device returns error codes to the host computer. Error codes 0x03 and 0x0a are used as examples. Other error codes are similar.

UnKnownIndex(0x03)

The host computer reads the variable through sRI: Index is 0x0666

02 02 02 02 00 00 00 05 73 52 49 06 66 08

The device returns sFA + error_code (0x03)

02 02 02 02 00 00 00 05 73 46 41 00 03 77

The host computer writes variables through sWI: Index is 0x6666

02 02 02 02 00 00 00 09 73 57 49 66 66 00 00 75 30 28

The device returns sFA + error_code (0x03)

02 02 02 02 00 00 00 05 73 46 41 00 03 77

WriteAccessDenied (0x0a)

The host computer writes variables through sWI: Index is 0x001e (indicates temperature, a read-only variable)

02 02 02 02 00 00 00 06 73 57 49 00 1e 27 54

The device returns sFA + error_code (0x0a)

02 02 02 02 00 00 00 05 73 46 41 00 0a 7e

variable

The variable in brackets represents a scalar Index .

Note:

- index corresponding to the variable is in brackets .

- The binary screenshot is the data format captured by Wireshark .

- DADISICK " produced by Dadi Electronics .

DeviceIdent(0x0000)

Data Type:

FlexString + FlexString

meaning:

Device Identification, which indicates the self-identification (identity) of the device. Unique Identification of device.

Device name (FlexString) + Device version number (FlexString)

example:

"(length 0x05) DS series (length 0x0c) V001.002.082"

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 00 68

Read Response:

02 02 02 02 00 00 00 1a 73 52 41 00 00 00 05 44

4c 31 30 30 00 0c 56 30 30 31 2e 30 30 32 2e 30

38 32 3f

Device Name: DK-DS series

Device version number: V001.002.08 2

Not writable

DADISICK corresponding relationship:

SerialNumber(0x0003)

Data Type:

FlexString

Length: 0-12

meaning:

Serial Number

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 03 6b

Read Response:

02 02 02 02 00 00 00 0f 73 52 41 00 03 00 08 31 39 33 30 30 32 32 32 62

Not writable

DADISICK corresponding relationship:

FirmwareVersion(0x0004)

Data Type:

FlexString

Length: 0-15

meaning:

Firmware version

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 04 6c

Read Response:

02 02 02 02 00 00 00 13 73 52 41 00 04 00 0c 56 30 30 31 2e 30 30 32 2e 30 38 32 07

Not writable

DADISICK corresponding relationship:

Distance(0x000a)

Data Type:

Float32

Note: The distance is expressed in IEEE-754 floating point format.

Unit: m

meaning:

Distance measured by DS series

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 0a 62

Read Response:

02 02 02 02 00 00 00 09 73 52 41 00 0a 3f f9 e1 b1 fc

Not writable

DADISICK corresponding relationship:

Acceleration (0x000c)

Data Type:

Float32

meaning:

Object acceleration measured by DS series

Data Format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 0c 64

Read Response:

02 02 02 02 00 00 00 09 73 52 41 00 0c 40 40 00 00 6c

Not writable

DADISICK corresponding relationship:

Temperature(0x001e)

Data Type:

Int8

meaning:

DK-DS series device internal temperature

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 1e 76

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 1e 21 5f

Not writable

DADISICK corresponding relationship:

dbLevelComm(0x002d)

Data Type:

Int16

meaning:

Communication port: received reflected signal level attenuation, unit: dB

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 2d 45

Read Response:

02 02 02 02 00 00 00 07 73 52 41 00 2d ff be 0c

Not writable

DADISICK corresponding relationship:

publicSoftwareVersion(0x004a)

Data Type:

FixString, length 12

meaning:

The software public version number. The format is: V001.002.081.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 4a 22

Read Response:

02 02 02 02 00 00 00 11 73 52 41 00 4a 56 30 30 31 2e 30 30 32 2e 30 38 31 46

Not writable

DADISICK corresponding relationship:

readyStatus(0x0051)

Data Type:

Bool

meaning:

Device status: whether the device is ready

0: Not ready

1: Ready

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 51 39

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 51 00 31

Not writable

DADISICK corresponding relationship:

warningStatus(0x0052)

Data Type:

Bool

meaning:

Device status: whether there is any warning on the device

0: No warning

1: With warning

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 52 3a

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 52 00 32

Not writable

DADISICK corresponding relationship:

errorStatus(0x0053)

Data Type:

Bool

meaning:

Device status: whether there is any error in the device

0: No error

1: There is an error

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 53 3b

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 53 00 33

Not writable

DADISICK corresponding relationship:

laserOnStatus(0x0055)

Data Type:

Bool

meaning:

Is the laser emitting light?

0: No light

1: Glow

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 55 3d

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 55 01 34

Not writable

DADISICK corresponding relationship:

mf1ActiveStatus(0x0056)

Data Type:

Bool

meaning:

MF1 is activated

0: Not triggered

1: Triggered

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 56 3e

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 56 00 36

Not writable

DADISICK corresponding relationship:

mf2ActiveStatus(0x0057)

Data Type:

Bool

meaning:

MF2 is activated

0: Not triggered

1: Triggered

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 57 3f

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 57 01 36

Not writable

DADISICK corresponding relationship:

averagedVelocity(0x00a2)

Data Type:

Float32

meaning:

The average speed of the object measured by DK-DS series is the speed obtained when the host computer draws the picture.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 a2 ca

Read Response:

02 02 02 02 00 00 00 09 73 52 41 00 a2 40 00 00 00 82

Not writable

DADISICK corresponding relationship:

laserServiceStateSSI(0x00a4)

Data Type:

Bool

meaning:

Is SSI in LaserWarning state?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 a4cc

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 a4 00 c4

Not writable

DADISICK corresponding relationship:

Note: When configuring the Error Bit of SSI, only configure the Warning state, not the Error state.

temperatureServiceStateSSI(0x00a5)

Data Type:

Bool

meaning:

Is SSI in TemperatureWarning state?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 a5 cd

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 a5 00 c5

Not writable

DADISICK corresponding relationship:

levelServiceStateSSI(0x00a6)

Data Type:

Bool

meaning:

Is SSI in LevelWarnings state?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 a6 ce

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 a6 00 c6

Not writable

DADISICK corresponding relationship:

publicSoftwareVersionFpga(0x00a8)

Data Type:

FixString, length 12

meaning:

Fpga version number. Its format is: V001.000.001.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 a8 c0

Read Response:

02 02 02 02 00 00 00 11 73 52 41 00 a8 56 30 30 31 2e 30 30 30 2e 30 30 31 ae

Not writable

DADISICK corresponding relationship:

plausibilityServiceStateSSI(0x00a9)

Data Type:

Bool

meaning:

Is SSI in PlausibilityWarnings state?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 a9 c1

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 a9 00 c9

Not writable

DADISICK corresponding relationship:

displayedConfigEthernetIP(0x00ad)

Data Type:

FixString, length 15

meaning:

Device IP address

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 ad c5

Read Response:

02 02 02 02 00 00 00 14 73 52 41 00 ad 31 39 32 2e 31 36 38 2e 31 30 30 2e 32 33 36 e0

Not writable

Note: The IP address must be 4 three-digit numbers, such as "192.168.100.125". If the IP address is less than three digits, it should be supplemented. For example, if the IP address is " 10.10.10.6 " , the lower computer should return " 010.010.010.006 " . As shown below:

displayedConfigEthernetNM(0x00ae)

Data Type:

FixString, length 15

meaning:

Device IP address subnet mask

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 ae c6

Read Response:

02 02 02 02 00 00 00 14 73 52 41 00 ae 32 35 35 2e 32 35 35 2e 32 35 35 2e 30 30 30 e2

Not writable

displayedConfigEthernetGW(0x00af)

Data Type:

FixString, length 15

meaning:

Device gateway address

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 af c7

Read Response:

02 02 02 02 00 00 00 14 73 52 41 00 af 31 39 32

2e 31 36 38 2e 31 35 38 2e 30 30 31 e9

Not writable

laserError(0x00ca)

Data Type:

Bool

meaning:

Is the laser wrong?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 ca a2

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 ca 00 aa

Not writable

DADISICK corresponding relationship:

temperatureError(0x00cb)

Data Type:

Bool

meaning:

Is there an error in the temperature measurement?

Data Format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 cb a3

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 cb 00 ab

Not writable

DADISICK corresponding relationship:

levelError(0x00cc)

Data Type:

Bool

meaning:

Is there any error in the received reflected signal level?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 cc a4

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 cc 00 ac

Not writable

DADISICK corresponding relationship:

plausiblityError(0x00cd)

Data Type:

Bool

meaning:

Is there an error in equipment reliability?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 cd a5

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 cd 01 ac

Not writable

DADISICK corresponding relationship:

laserPrefailWarning(0x00ce)

Data Type:

Bool

meaning:

Is there an alarm for the laser?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 ce a6

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 ce 00 ae

Not writable

DADISICK corresponding relationship:

temperaturePrefailWarning(0x00cf)

Data Type:

Bool

meaning:

Is there an alarm for temperature measurement?

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 cf a7

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 cf 00 af

Not writable

DADISICK corresponding relationship:

levelPrefailWarning(0x00d0)

Data Type:

Bool

meaning:

Laser level alarm

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 d0 b8

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 d0 00 b0

Not writable

DADISICK corresponding relationship:

plausiblityPrefailWarning(0x00d1)

Data Type:

Bool

meaning:

Equipment reliability alarm

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 d1 b9

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 d1 01 b0

Not writable

DADISICK corresponding relationship:

productPartNo(0x00de)

Data Type:

FlexString

meaning:

DK-DS series Device Part Number

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 de b6

Read Response:

02 02 02 02 00 00 00 0e 73 52 41 00 de 00 07 31 30 35 32 36 39 30 80

Not writable

DADISICK corresponding relationship:

laserServiceState(0x00e6)

Data Type:

Bool

meaning:

Whether the device is in Laser Warning or Error state, and MFx is triggered. If MF1 is configured to respond to Laser error or warning, MF1 is triggered; if MF2 is configured to respond to Laser error or warning, MF2 is triggered.

Data Format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 e6 8e

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 e6 00 86

Not writable

DADISICK corresponding relationship:

temperatureServiceState(0x00e7)

Data Type:

Bool

meaning:

Whether the device is in Temperature Warning or Error state, and MFx is activated. If MF1 is configured to respond to temperature error or warning, MF1 is activated; if MF2 is configured to respond to temperature error or warning, MF2 is activated.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 e7 8f

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 e7 00 87

Not writable

DADISICK corresponding relationship:

levelServiceState(0x00e8)

Data Type:

Bool

meaning:

Whether the device is in Level Warning or Error state, and MFx is triggered. If MF1 is configured to respond to level error or warning, MF1 is triggered; if MF2 is configured to respond to level error or warning, MF2 is triggered.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 e8 80

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 e8 00 88

Not writable

DADISICK corresponding relationship:

readyServiceState(0x00e9)

Data Type:

Bool

meaning:

Whether the device is in Device Not Ready state and MFx or SSI Error Bit is stimulated.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 e9 81

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 e9 01 88

Not writable

Mfx, SSI state both use this identifier

DADISICK corresponding relationship:

plausiblityServiceState(0x00eb)

Data Type:

Bool

meaning:

Whether the device is in Plausibility Warning or Error state, and MFx is triggered. If MF1 is configured with plausibility error or warning, MF1 is triggered; if MF2 is configured with response plausibility error or warning, MF2 is triggered.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 eb 83

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00eb 00 8b

Not writable

DADISICK corresponding relationship:

mf1ServiceState(0x00ec)

Data Type:

Bool

meaning:

Whether Mf1 is excited using a high level or a low level, or whether it is at a high level or a low level when excited.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 ec 84

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 ec 01 8d

Not writable

DADISICK corresponding relationship:

mf2ServiceState(0x00ed)

Data Type:

Bool

meaning:

Whether Mf2 is at a high level or a low level when it is excited.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 ed 85

Read Response:

02 02 02 02 00 00 00 06 73 52 41 00 ed 00 8d

Not writable

DADISICK corresponding relationship:

operatingHours(0x00ef)

Data Type:

UInt32

meaning:

Total equipment working time

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 00 ef 87

Read Response:

02 02 02 02 00 00 00 09 73 52 41 00 ef 00 00 03 37 bb

Not writable

DADISICK corresponding relationship:

distanceOffset(0x014a)

Data Type:

Int32

meaning:

Distance offset. Range –600,000 … +300,000 [mm]

The compensation value is added to the determined distance value. The compensation value is effective for all outputs and for the distance display on the display.

Unit: [mm]

Default value: 0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 4a 23

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 4a ff ff ff 9c 48

Write

Write Request

02 02 02 02 00 00 00 09 73 57 49 01 4a 00 00 00 64 42

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 4a 2e

DADISICK corresponding relationship:

distancePreset(0x014b)

Data Type:

Int32

meaning:

Preset distances, range –600,000 … +300,000 [mm].

Unit: [mm]

Default value: 0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 4b 22

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 4b ff ff ff 38 ed

Important: Relationship between Preset and Offset

Compensation value = preset - measured distance value, that is:

Offset = Preset - Distance

In the final distance, final distance = measured distance + Offset

Distance = TestedDistance + Offset

Write

Write Request

02 02 02 02 00 00 00 09 73 57 49 01 4b ff ff ff 9c 44

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 4b 2f

DADISICK corresponding relationship:

globalFunctionMF(0x014d)

Data Type:

Bool

meaning:

Whether to enable the MF1/MF2 function

- Disable MF1/MF2

- Enable MF1/MF2

default value:

1, indicating that MF1/MF2 is enabled

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 4d 24

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 4d 01 2d

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 4d 00 21

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 4d 29

DADISICK corresponding relationship:

functionMF1 (0x014e)

Data Type:

UInt8

meaning:

Configuring MF1 Functions

0: Distance : used as output signal distance switching device

1: Velocity : used as a speed output signal switching device

2: Service : used as service output port

3: Laser off : used to turn off the laser input

4: Preset : Will be used as input to activate a static preset

default value:

0: Distance

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 4e 27

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 4e 00 2f

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 4e 01 23

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 4e 2a

DADISICK corresponding relationship:

mf1ActiveState (0x014f)

Data Type:

Bool

meaning:

Configure MF1 excitation state

0: High level

1: Low level

default value:

1: Low level

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 4f 26

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 4f 01 2f

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 4f 00 23

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 4f 2b

DADISICK corresponding relationship:

functionMF2 (0x0150)

Data Type:

UInt8

meaning:

Configuring the MF2 Function

* 0: Distance

* 1: Velocity

* 2: Service

default value:

2: Service

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 50 39

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 50 01 30

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 50 01 3d

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 50 34

DADISICK corresponding relationship:

mf2ActiveState (0x0151)

Data Type:

Bool

meaning:

MF2 excitation state

0: High level

1: Low level

default value:

1: Low level

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 51 38

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 51 01 31

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 51 00 3d

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 51 35

DADISICK corresponding relationship:

thresholdDistanceMF1 (0x0152)

Data Type:

Int32

meaning:

MF1 is configured as a distance alarm, the switching threshold of the distance value

Setting range: –300,000 … +300,000 [mm]

Unit: [mm]

default value:

Factory setting: 1,990 [mm]

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 52 3b

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 52 00 00 00 64 57

Write

Write Request

02 02 02 02 00 00 00 09 73 57 49 01 52 00 00 07 d0 e9

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 52 36

DADISICK corresponding relationship:

hysteresisDistanceMF1 (0x0153)

Data Type:

UInt32

meaning:

Distance switch threshold hysteresis

Setting range: 1… +300,000 [mm]

Unit: [mm]

default value:

10[mm]

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 53 3a

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 53 00 00 00 0a 38

Write

Write Request

02 02 02 02 00 00 00 09 73 57 49 01 53 00 00 00 0a 35

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 53 37

DADISICK corresponding relationship:

thresholdVelocityMF1 (0x0154)

Data Type:

UInt16

meaning:

When MF1 is set to speed excitation, the excitation threshold

Setting range: 50 … 15,000 [mm/s]

The switching hysteresis is fixed to 100 mm/s

Unit: [mm/s]

default value:

Factory setting: 5,000 [mm/s]

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 54 3d

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 5f 00 00 03 e8d5

Write

Write Request

02 02 02 02 00 00 00 07 73 57 49 01 54 0f a0 97

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 54 30

DADISICK corresponding relationship:

velocityModeMF1 (0x0155)

Data Type:

UInt8

meaning:

When set to velocity excitation, is it forward velocity excitation, reverse velocity excitation, or bidirectional excitation?

* 0: increasing

* 1: decreasing

* 2: in creasing /decreasing

default value:

Factory setting: 2 + / – (bidirectional excitation)

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 55 3c

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 55 00 34

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 55 00 39

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 55 31

DADISICK corresponding relationship:

mf1LaserServiceSetup (0x0156)

Data Type:

Bool

meaning:

When MF1 is configured as a Service, whether to respond to Laser warnings and errors.

default value:

1: on, indicating that MF1 responds to Laser warnings/errors

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 56 3f

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 56 00 37

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 56 00 3a

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 56 32

DADISICK corresponding relationship:

mf1LevelServiceSetup (0x0157)

Data Type:

Bool

meaning:

When MF1 is configured as a Service, whether to respond to Level warnings and errors.

default value:

1: on, indicating that MF1 responds to Level warning/error

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 57 3e

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 57 00 36

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 57 00 3b

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 57 33

DADISICK corresponding relationship:

mf1TempServiceSetup (0x0158)

Data Type:

Bool

meaning:

When MF1 is configured as a Service, whether to respond to Temperature warnings and errors.

default value:

1: on, indicating that MF1 responds to Temperature warning/error

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 58 31

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 58 00 39

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 58 00 34

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 58 3c

DADISICK corresponding relationship:

mf1PlausibServiceSetup (0x0159)

Data Type:

Bool

meaning:

Whether to respond to Plausibility warnings/errors when MF1 is configured as a Service.

default value:

1: on, MF1 responds to Plausibility warnings/errors

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 59 30

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 59 00 38

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 59 00 35

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 59 3d

DADISICK corresponding relationship:

mf1ReadyServiceSetup (0x015a)

Data Type:

Bool

meaning:

Whether to respond to DeviceNotReady warnings when MF1 is configured as a Service.

default value:

1: on, indicating that MF1 responds to TemperatDeviceNotReadyure warning/error

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 5a 33

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 5a 00 3b

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 5a 00 36

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 5a 3e

DADISICK corresponding relationship:

mf1switchCounter(0x015c)

Data Type:

UInt32

meaning:

Number of MF1 excitations.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 5c 35

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 5c 00 00 00 04 39

Not writable

DADISICK corresponding relationship:

thresholdDistanceMF2(0x015d)

Data Type:

Int32

meaning:

MF2 is configured as a distance alarm, and the switching threshold of the distance value

Setting range: –300,000 … +300,000 [mm]

Unit: [mm]

default value:

Factory setting: 1,990 [mm]

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 5d 34

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 5d 00 00 07 d0 eb

Write

Write Request

02 02 02 02 00 00 00 09 73 57 49 01 5d 00 00 07 d0 e6

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 5d 39

DADISICK corresponding relationship:

hysteresisDistanceMF2(0x015e)

Data Type:

Int32

meaning:

Distance switch threshold hysteresis

Setting range: 1… +300,000 [mm]

Unit: [mm]

default value:

10[mm]

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 5e 37

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 5e 00 00 00

0a 35

Write

Write Request

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 5e 3a

DADISICK corresponding relationship:

thresholdVelocityMF2 (0x015f)

Data Type:

UInt16

meaning:

When MF2 is set to speed excitation, the excitation threshold

Setting range: 50 … 15,000 [mm/s]

The switching hysteresis is fixed to 100 mm/s

Unit: [mm/s]

default value:

Factory setting: 5,000 [mm/s]

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 5f 36

Read Response:

02 02 02 02 00 00 00 07 73 52 41 01 5f 0f a0 91

Write

Write Request

02 02 02 02 00 00 00 07 73 57 49 01 5f 0f a0 9c

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 5f 3b

DADISICK corresponding relationship:

velocityModeMF2 (0x0160)

Data Type:

UInt8

meaning:

When set to velocity excitation, is it forward velocity excitation, reverse velocity excitation, or bidirectional excitation?

* 0: increasing

* 1: decreasing

* 2: in-/decreasing

default value:

Factory setting: 2 + / – (bidirectional excitation)

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 60 09

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 60 02 03

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 60 00 0c

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 60 04

DADISICK corresponding relationship:

mf2LaserServiceSetup(0x0161)

Data Type:

Bool

meaning:

Whether to respond to Laser warnings/errors when MF2 is configured as a service.

default value:

1: on, indicating that MF2 responds to Laser warnings/errors

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 61 08

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 61 00 00

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 61 00 0d

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 61 05

DADISICK corresponding relationship:

mf2LevelServiceSetup(0x0162)

Data Type:

Bool

meaning:

Whether to respond to Level warning/error when MF2 is configured as a service.

default value:

1: on, indicating that MF2 responds to Level warning/error

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 62 0b

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 62 00 03

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 62 00 0e

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 62 06

DADISICK corresponding relationship:

mf2TempServiceSetup(0x0163)

Data Type:

Bool

meaning:

Whether to respond to Temperature warnings/errors when MF2 is configured as a service.

default value:

1: on, indicating that MF2 responds to Temperature warning/error

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 63 0a

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 63 00 02

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 63 00 0f

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 63 07

DADISICK corresponding relationship:

mf2PlausibServiceSetup(0x0164)

Data Type:

Bool

meaning:

Whether to respond to Plausibility warnings/errors when MF2 is configured as a service.

default value:

1: on, MF2 responds to Plausibility warnings/errors

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 64 0d

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 64 00 05

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 64 00 08

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 64 00

DADISICK corresponding relationship:

mf2ReadyServiceSetup(0x0165)

Data Type:

Bool

meaning:

Whether to respond to DeviceNotReady warnings when MF2 is configured as a service.

default value:

1: on, indicating that MF2 responds to DeviceNotReady warning/error

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 65 0c

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 65 00 04

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 65 00 09

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 65 01

DADISICK corresponding relationship:

mf2switchCounter(0x0167)

Data Type:

UInt32

meaning:

Number of MF2 excitations.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 67 0e

Read Response:

02 02 02 02 00 00 00 09 73 52 41 01 67 00 00 00 a9 af

Not writable

DADISICK corresponding relationship:

averageFilterDistance(0x0168)

Data Type:

UInt8

meaning:

Selecting filter characteristics for distance measurements

0: Fast filtering

1: Medium speed filtering

2: Slow filtering

default value:

1: Medium speed filtering

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 68 01

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 68 02 0b

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 68 01 05

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 68 0c

DADISICK corresponding relationship:

errorRejection(0x016a)

Data Type:

UInt8

meaning:

Select the maximum error suppression time. If a measurement is not possible due to a fault (e.g. a brief light beam interruption), the measured value is extrapolated at most until the end of the set error suppression time. During this time, the WrnPlb plausibility warning is output. If measurement is still not possible after the error suppression time has expired, a measured value of 0, a plausibility error ErrPlb and possibly other faults (eg level error ErrLvl) are output.

0: off

1: 50ms

2: 200ms

default value:

2: 200ms

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 6a 03

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 6a 00 0b

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 6a 02 04

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 6a 0e

DADISICK corresponding relationship:

ssiProtocol (0x016b)

Data Type:

UInt8

meaning:

SSI communication protocol type

*0: twenty four Bit gray + Error(binary)

*1: twenty four Bit gray

*2: 25 Bit gray

*3: twenty four Bit binary + Error(binary)

*4: twenty four Bit binary

*5: 25 Bit binary

default value:

0, indicating Gry24E

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 6b 02

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 6b 00 0a

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 6b 01 06

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 6b 0f

DADISICK corresponding relationship:

ssiResolution (0x016c)

Data Type:

UInt8

meaning:

Select distance resolution

0:0.1mm,

1:0.125mm,

2:1mm,

3:10mm,

4:100mm

default value:

0, means 0.1mm.

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 6c 05

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 6c 00 0d

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 6c 02 02

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 6c 08

DADISICK corresponding relationship:

ssiLaserServiceSetup (0x016d)

Data Type:

Bool

meaning:

SSI error code configuration, whether to alarm when there is LaserWarning.

Data format:

default value:

0

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 6d 04

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 6d 00 0c

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 6d 01 00

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 6d 09

DADISICK corresponding relationship:

ssiTemperatureServiceSetup (0x016e)

Data Type:

Bool

meaning:

SSI error code configuration, whether to alarm when there is a TemperatureWarning.

default value:

0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 6e 07

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 6e 00 0f

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 6e 01 03

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 6e 0a

DADISICK corresponding relationship:

ssiLevelServiceSetup (0x016f)

Data Type:

Bool

meaning:

SSI error code configuration, whether to alarm when there is LevelWarning.

default value:

0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 6f 06

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 6f 00 0e

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 6f 01 02

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 6f 0b

DADISICK corresponding relationship:

ssiReadyServiceSetup (0x0170)

Data Type:

Bool

meaning:

SSI error code configuration, whether to alarm when there is DeviceNotReadyWarning.

default value:

0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 70 19

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 70 00 11

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 70 01 1d

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 70 14

DADISICK corresponding relationship:

ssiPlausibilityServiceSetup (0x0171)

Data Type:

Bool

meaning:

SSI error code configuration, whether to alarm when PlausibilityWarning occurs.

default value:

0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 71 18

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 71 00 10

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 71 01 1c

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 71 15

DADISICK corresponding relationship:

ssiMf1ServiceSetup ( 0x0173 )

Data Type:

Bool

meaning:

SSI error code configuration, whether to alarm when MF1 is triggered.

default value:

0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 73 1a

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 73 01 13

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 73 01 1e

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 73 17

DADISICK corresponding relationship:

ssiMf2ServiceSetup ( 0x0174 )

Data Type:

Bool

meaning:

SSI error code configuration, whether to alarm when MF2 is triggered.

default value:

0

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 74 1d

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 74 01 14

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 74 01 19

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 74 10

DADISICK corresponding relationship:

averageFilterVelocity(0x01a0)

Data Type:

UInt8

meaning:

Selecting filter characteristics for speed measurements

0: Fast filtering

1: Medium speed filtering

2: Slow filtering

default value:

1: Medium speed filtering

Data format:

read

Read Request:

02 02 02 02 00 00 00 05 73 52 49 01 a0 c9

Read Response:

02 02 02 02 00 00 00 06 73 52 41 01 a0 00 c1

Write

Write Request

02 02 02 02 00 00 00 06 73 57 49 01 a0 01 cd

Write Response

02 02 02 02 00 00 00 05 73 57 41 01 a0 c4

DADISICK corresponding relationship:

method

Used to operate the radar, similar to a function.

ResetMf1Activations(0x00da)

parameter:

none

Return value:

none

meaning:

Reset MF1 excitation times. This parameter is automatically initialized to 0 when powered on.

Format:

Call:

02 02 02 02 00 00 00 05 73 4d 49 00 da ad

Return:

02 02 02 02 00 00 00 05 73 41 49 00 da a1

DADISICK corresponding relationship:

ResetMf2Activations(0x00db)

parameter:

none

Return Value

none

meaning:

Reset the MF2 excitation times. This parameter is automatically initialized to 0 when powered on.

Format:

Call:

02 02 02 02 00 00 00 05 73 4d 49 00 db ac

Return:

02 02 02 02 00 00 00 05 73 41 49 00 db a0

DADISICK corresponding relationship:

ResetParamters(0x00ce)

parameter:

none

Return Value

none

meaning:

Reset parameters to default values. The default values here refer to the default values saved in the device when the device is manufactured.

Format:

Call:

02 02 02 02 00 00 00 05 73 4d 49 00 ce b9

Return:

02 02 02 02 00 00 00 05 73 41 49 00 ce b5

DADISICK corresponding relationship:

Reboot(0x00c8)

parameter:

none

Return Value

none

meaning:

Restart your device

Format:

Call:

02 02 02 02 00 00 00 05 73 4d 49 00 c8 bf

No Return.

DADISICK corresponding relationship:

LaserOn(0x00e0)

parameter:

none

Return Value

none

meaning:

Start the laser (the laser emits light at this time)

Format:

Call:

02 02 02 02 00 00 00 05 73 4d 49 00 e0 97

Return:

02 02 02 02 00 00 00 05 73 41 49 00 e0 9b

DADISICK corresponding relationship:

LaserOff(0x00e1)

parameter:

none

Return Value

none

meaning:

Turn off the laser (the device does not emit light at this time)

Format:

Call:

02 02 02 02 00 00 00 05 73 4d 49 00 e1 96

Return:

02 02 02 02 00 00 00 05 73 41 49 00 e1 9a

DADISICK corresponding relationship:

SSI Protocol

Base

The SSI (Synchronous Serial Interface) interface provides absolute information about the position via serial data transmission. Both the clock signal and the data are transmitted via this interface.

The data transmission takes place at the request of the control system, where the cycle time and the transmission speed can be set within a wide range of limits. For this purpose, the connected control system adds a clock sequence to the receive input of the device. With each positive clock edge, a data bit is pushed to the transmit cable of the device, starting with the bit with the highest value. There is a clock pause of at least 30 μs between two clock sequences. The bit clock is between 70 kHz and 500 kHz, depending on the cable length.

One of the performance parameters of the device is "measurement cycle time: 1ms" , so the maximum rate of the device must be adapted to 1000 distance value transmissions per second. Considering that the future data format has 24Gr + 8E and 24B + 8E mode extensions, the maximum data transmission rate should not be less than 1000 * 32 bps ≈ 32kbps.

According to the table above, when the cable length is less than 25m, the transmission speed is required to reach 500kBd (kBd here can be understood as 500kbps). Within a measurement cycle, the external device may read the distance value multiple times through SSI. The device must handle the situation where the external device reads data according to the following logic:

- If the device keeps valid measurement and the reading frequency of the external device is greater than the measurement frequency, the device outputs the last valid measurement data.

- If the device maintains valid measurement all the time, but the reading frequency of the external device is less than the measurement frequency, the device discards the original measurement data and keeps the latest measurement data.

- If the device measurement fails (i.e. the level is lower than the effective value, which means that the laser does not hit the reflector), the effective measurement value is retained for 2ms (this parameter corresponds to another performance parameter of the device, response time/measurement value aging: 2ms ).

Data Format

The SSI communication protocol supports the following types:

*0: twenty four Bit gray + Error(binary)

*1: twenty four Bit gray

*2: 25 Bit gray

*3: twenty four Bit binary + Error(binary)

*4: twenty four Bit binary

*5: 25 Bit binary

The various formats of data are as follows:

Gry24E and Bin24E: 24 data bits, Gray code/binary code + 1 error bit, binary

Gry24 and Bin24: 24 data bits, Gray code/binary code

Gry25 and Bin25: 25 data bits, Gray code/binary code

Resolution

The SSI communication data resolution can be set to 0.1mm, 0.125mm, 1mm, 10mm, and 100mm.

There are two ways to set the resolution:

- Through the communication protocol between the host computer and the MCU.

- By operating directly on the machine.

Error bit

When SSI selects the Gry24+E or Bin24+E format, the last digit (i.e., E) indicates that an error has occurred in the device. The errors include:

DeviceNotReady

Plausibility Warning

Level Warning

Laser Warning

Temperature Warning

MF1 activation

MF2 Activation

If any of the above events or warnings occurs, the E bit is set to 1, otherwise it is 0.

Data Expression

There are 3 types of measurement values for this device:

- distance

- speed

- Acceleration

Data D0~D24, D0~D25 represent the measured distance value , not the speed and acceleration.

The data format is divided into 24-bit and 25-bit, and is logically encoded in binary.

The device range is designed to be 300m, so the maximum value is 300 * 1000 / 0.1 = 3,000,000 = 0x2D C6C0. Therefore, from MSB to LSB, all unused bits are set to 0.

example

- The measurement data resolution of DS series is 0.1mm. For example, the actual measurement data is 2.5388m. Select Bin24 type. The transmission value at 0.1mm resolution is 25388/1=25388, and the corresponding binary is 0000 0000 0110 0011 0010 1100.

- At a resolution of 0.125mm, the transmission value is 25388/1.25=20310, and the corresponding binary value is 0000 0000 0100 1111 0101 0110. At a resolution of 1mm, the transmission value is 25388/10=2538, and the corresponding binary value is 0000 0000 0000 1001 1110 1010.

- At a resolution of 10mm, the transmission value is 25388/100=253, and the corresponding binary value is 0000 0000 0000 0000 1111 1101. At a resolution of 100mm, the transmission value is 25388/1000=25, and the corresponding binary value is 0000 0000 0000 0000 0001 1001.

The FPGA is only responsible for data measurement and transmission to the MCU. The resolution setting and SSI expression of the data are handled by the MCU.